## Open Gammas
Freq(MHz) | Real | Imaginary
100 | 0.99978 | -0.02102
200 | 0.99912 | -0.04203
300 | 0.99801 | -0.063022
400 | 0.99647 | -0.083986
500 | 0.99448 | -0.10491
600 | 0.99206 | -0.12579
700 | 0.98919 | -0.14662
800 | 0.98589 | -0.16738
900 | 0.98216 | -0.18807
1000 | 0.97799 | -0.20867
1100 | 0.97338 | -0.22918
1200 | 0.96835 | -0.24959
1300 | 0.96289 | -0.26989
1400 | 0.957 | -0.29007
1500 | 0.9507 | -0.31013
1600 | 0.94397 | -0.33004
1700 | 0.93682 | -0.34981
1800 | 0.92926 | -0.36943
1900 | 0.92129 | -0.38888
2000 | 0.91291 | -0.40817
2100 | 0.90413 | -0.42727
2200 | 0.89494 | -0.44618
2300 | 0.88536 | -0.4649
2400 | 0.8754 | -0.48341
2500 | 0.86504 | -0.50171
2600 | 0.8543 | -0.51978
2700 | 0.84318 | -0.53763
2800 | 0.83169 | -0.55524
2900 | 0.81983 | -0.57261
3000 | 0.80761 | -0.58972
3100 | 0.79503 | -0.60657
3200 | 0.7821 | -0.62316
3300 | 0.76882 | -0.63947
3400 | 0.7552 | -0.6555
3500 | 0.74124 | -0.67124
3600 | 0.72696 | -0.68668
3700 | 0.71236 | -0.70182
3800 | 0.69744 | -0.71665
3900 | 0.6822 | -0.73116
4000 | 0.66667 | -0.74535
4100 | 0.65084 | -0.75921
4200 | 0.63472 | -0.77274
4300 | 0.61832 | -0.78593
4400 | 0.60164 | -0.79876
4500 | 0.5847 | -0.81125
4600 | 0.5675 | -0.82338
4700 | 0.55004 | -0.83514
4800 | 0.53234 | -0.84653
4900 | 0.5144 | -0.85755
5000 | 0.49623 | -0.86819
5100 | 0.47783 | -0.87845
5200 | 0.45923 | -0.88832
5300 | 0.44042 | -0.89779
5400 | 0.42141 | -0.90687
5500 | 0.40221 | -0.91555
5600 | 0.38283 | -0.92382
5700 | 0.36328 | -0.93168
5800 | 0.34356 | -0.93913
5900 | 0.32369 | -0.94616
6000 | 0.30367 | -0.95278

## Short Gammas
Freq(MHz) | Real | Imaginary
100 | -0.99978 | 0.020957
200 | -0.99912 | 0.041905
300 | -0.99802 | 0.062834
400 | -0.99649 | 0.083736
500 | -0.99451 | 0.1046
600 | -0.9921 | 0.12542
700 | -0.98926 | 0.14618
800 | -0.98598 | 0.16688
900 | -0.98226 | 0.18751
1000 | -0.97812 | 0.20805
1100 | -0.97354 | 0.22851
1200 | -0.96854 | 0.24886
1300 | -0.96311 | 0.2691
1400 | -0.95726 | 0.28923
1500 | -0.95099 | 0.30922
1600 | -0.9443 | 0.32909
1700 | -0.9372 | 0.3488
1800 | -0.92968 | 0.36837
1900 | -0.92176 | 0.38777
2000 | -0.91343 | 0.407
2100 | -0.9047 | 0.42605
2200 | -0.89557 | 0.44492
2300 | -0.88605 | 0.46359
2400 | -0.87614 | 0.48206
2500 | -0.86584 | 0.50031
2600 | -0.85517 | 0.51835
2700 | -0.84412 | 0.53616
2800 | -0.8327 | 0.55373
2900 | -0.82091 | 0.57106
3000 | -0.80876 | 0.58814
3100 | -0.79626 | 0.60496
3200 | -0.78341 | 0.62151
3300 | -0.77021 | 0.63779
3400 | -0.75667 | 0.65379
3500 | -0.74281 | 0.66951
3600 | -0.72861 | 0.68493
3700 | -0.7141 | 0.70005
3800 | -0.69927 | 0.71486
3900 | -0.68413 | 0.72936
4000 | -0.6687 | 0.74353
4100 | -0.65297 | 0.75738
4200 | -0.63695 | 0.7709
4300 | -0.62066 | 0.78408
4400 | -0.60409 | 0.79692
4500 | -0.58726 | 0.8094
4600 | -0.57017 | 0.82153
4700 | -0.55282 | 0.8333
4800 | -0.53524 | 0.8447
4900 | -0.51742 | 0.85573
5000 | -0.49937 | 0.86639
5100 | -0.48111 | 0.87666
5200 | -0.46263 | 0.88655
5300 | -0.44395 | 0.89605
5400 | -0.42507 | 0.90516
5500 | -0.40601 | 0.91387
5600 | -0.38677 | 0.92218
5700 | -0.36736 | 0.93008
5800 | -0.34778 | 0.93757
5900 | -0.32806 | 0.94466
6000 | -0.30819 | 0.95132

## Load Gammas
Freq(MHz) | Real | Imaginary
100 | 0 | 0
200 | 0 | 0
300 | 0 | 0
400 | 0 | 0
500 | 0 | 0
600 | 0 | 0
700 | 0 | 0
800 | 0 | 0
900 | 0 | 0
1000 | 0 | 0
1100 | 0 | 0
1200 | 0 | 0
1300 | 0 | 0
1400 | 0 | 0
1500 | 0 | 0
1600 | 0 | 0
1700 | 0 | 0
1800 | 0 | 0
1900 | 0 | 0
2000 | 0 | 0
2100 | 0 | 0
2200 | 0 | 0
2300 | 0 | 0
2400 | 0 | 0
2500 | 0 | 0
2600 | 0 | 0
2700 | 0 | 0
2800 | 0 | 0
2900 | 0 | 0
3000 | 0 | 0
3100 | 0 | 0
3200 | 0 | 0
3300 | 0 | 0
3400 | 0 | 0
3500 | 0 | 0
3600 | 0 | 0
3700 | 0 | 0
3800 | 0 | 0
3900 | 0 | 0
4000 | 0 | 0
4100 | 0 | 0
4200 | 0 | 0
4300 | 0 | 0
4400 | 0 | 0
4500 | 0 | 0
4600 | 0 | 0
4700 | 0 | 0
4800 | 0 | 0
4900 | 0 | 0
5000 | 0 | 0
5100 | 0 | 0
5200 | 0 | 0
5300 | 0 | 0
5400 | 0 | 0
5500 | 0 | 0
5600 | 0 | 0
5700 | 0 | 0
5800 | 0 | 0
5900 | 0 | 0
6000 | 0 | 0

## README
'*************************
'* GenCalStds.xls v1.0 *
'*************************
'Revision History
'================
'Date By Comments
'---------- --- -------------------------------------------
'06/02/2008 NE Initial Release
'Disclaimer:
' This software utility is provided as-is, with no guarantee of form, fit, or function
' stated or implied for any commercial or mission-critical use. The software was written
' for use as a tool during casual investigation of the fundamentals of vector network analyzer calibration.
' Permission for use, adaptation or modification of this software is granted for general usage, with appropriate
' credit given to the author.
'Author:
'
' Nick Ellis K7RM
' 3719 E. PEach Tree Dr.
' Chandler, AZ 85249-8913
' U.S.A
' (480) 987-3713
' k7rm@cox.net
'
'The GenCalStds utility creates text files representing the frequency dependent reflection coefficients of
'coaxial open, short and load commercial calibration standards used in SOLT VNA S-Parameter calibration.
'The C and L reactance polynomial coefficients are supplied by the standards manufacturer and are used for mathematically
'predicting the transmission line behavior of the particular standard when connected. In this utility, ideal loads are assumed
'with no reactive behavior over frequency.
'
'To use the GenCalStds utility, the appropriate text boxes in the form are filled in by the user, a folder selected
'for storing the calibration standards files, and the desired names for the created open,
'short, and load are entered. Once the user is satisfied with the data entries, the text files
'are created and written by selecting OK after the Data Entry Complete button is pressed. Reflection coefficients ("gammas")
'are also copied to a worksheet for inspection, if desired. The data format for GenCalStds calibration standards files is
'compatible with the industry-standard Touchstone specification.